## Slide 1: Policies and Procedures
Module 11

## Slide 2: Module Objective
By the end of this module, you will be able to describe the types of policies and procedures needed for the protection of critical infrastructure
Module Objective
By the end of this module, you will be able to describe the types of policies and procedures needed for the protection of critical infrastructure

## Slide 3: Course Map with VAM Phases
Identify Vital Infrastructure
Module 2
Assess Vital Infrastructure Components
Module 5
Identify Vital Infrastructure Assets
Module 6
Analyze the Threat
Modules 7-10
Identify Security Counter-
Measures
Modules 11-14
Develop Operational Resilience
Module 15
VAM Phase 1
VAM Phase 2
VAM Phase 3
VAM Phase 4
VAM Phase 2
Identify Critical Infrastructure
Module 2
Assess Critical Infrastructure Components
Module 5
Identify Critical Infrastructure Assets
Module 6
Analyze the Threat
Modules 7-10
Develop Operational Resilience
Module 15
VAM Phase 1
VAM Phase 2
VAM Phase 3
VAM Phase 4
Course Map with VAM Phases

## Slide 4: Policies and Procedures Relating to a Physical Protection System
This section will cover:
  Definitions
  Purpose of and need for
  Guidelines for writing policies
  Characteristics
  Updating
Policies and Procedures Relating to a Physical Protection System
This section will cover:
  Definitions
  Purpose of and need for
  Guidelines for writing policies
  Characteristics
  Updating

## Slide 5: Definitions
Policy: general guidance regarding an organization’s operational standards
Procedure: a specific series of tasks, steps, and processes necessary to accomplish a particular goal; how the organization intends to carry out operating policies
Definitions
Policy: general guidance regarding an organization’s operational standards
Procedure: a specific series of tasks, steps, and processes necessary to accomplish a particular goal; how the organization intends to carry out operating policies

## Slide 6: Purposes of Policies and Procedures
Establish guidelines for security management
Resolve security conflicts or incidents
Ensure security of critical infrastructure
Important for everyone:
  Provide guidance about expectations
  Offer a way for settling disputes
Source: Getty Images
Purposes of Policies and Procedures
Establish guidelines for security management
Resolve security conflicts or incidents
Ensure security of critical infrastructure
Important for everyone:
  Provide guidance about expectations
  Offer a way for settling disputes

## Slide 7: Need for Policies and Procedures (1 of 2)
Workbook 11.1
If actions of employees indicate confusion about conduct
If guidance is needed about ways to resolve conflict
To comply with governmental policies and laws
Refer To:
If actions of employees indicate confusion about conduct
If guidance is needed about ways to resolve conflict
To comply with governmental policies and laws
Need for Policies and Procedures (1 of 2)
Refer To:
Workbook 11.1

## Slide 8: Need for Policies and Procedures (2 of 2)
Workbook 11.1
To establish consistent work standards, rules, and regulations
To provide consistent security force response
To ensure security technologies are functioning properly
Refer To:
To establish consistent work standards, rules, and regulations
To provide consistent security force response
To ensure security technologies are functioning properly
Need for Policies and Procedures (2 of 2)
Refer To:
Workbook 11.1

## Slide 9: Discussion Question
What consequences to critical infrastructure security might result without policies and procedures?
What consequences to critical infrastructure security might result without policies and procedures?
Discussion Question

## Slide 10: Guidelines for Writing Policies
Determine the goal to accomplish
Tell employees why the policy is being implemented
Provide clear and specific guidelines
Include sufficient detail to effectively communicate the organization’s position
Guidelines for Writing Policies
Determine the goal to accomplish
Tell employees why the policy is being implemented
Provide clear and specific guidelines
Include sufficient detail to effectively communicate the organization’s position

## Slide 11: Characteristics of Policies and Procedures
Policies describe organization’s standards
Procedures describe steps to put the standards into action
Workbook 11.1
Refer To:
Source: Getty Images
Policies describe organization’s standards
Procedures describe steps to put the standards into action
Characteristics of Policies and Procedures
Refer To:
Workbook 11.1

## Slide 12: Use-of-Force Policy Example
A security force officer must not exceed the amount of force required to stop a subject from carrying out an adversarial action
A security force officer must, as appropriate, follow the escalation of force continuum as it applies to the situation
Use-of-Force Policy Example
A security force officer must not exceed the amount of force required to stop a subject from carrying out an adversarial action
A security force officer must, as appropriate, follow the escalation of force continuum as it applies to the situation

## Slide 13: Use-of-Force Procedure Example
Security force:
  Physical restraint
    The security force officer, as appropriate, must issue a verbal warning to a subject before taking action.
    If a verbal warning is not complied with, the security force officer can then escalate to the use of physical restraint.
Use-of-Force Procedure Example
Security force:
  Physical restraint
    The security force officer, as appropriate, must issue a verbal warning to a subject before taking action.
    If a verbal warning is not complied with, the security force officer can then escalate to the use of physical restraint.

## Slide 14: Importance of Updating Policies and Procedures
Vulnerability analysis methodology and risk assessment strategies ensure that the policies and procedures are:
  Accurate
  Current
  Regularly reviewed and revised to meet changing threats
Importance of Updating Policies and Procedures
Vulnerability analysis methodology and risk assessment strategies ensure that the policies and procedures are:
  Accurate
  Current
  Regularly reviewed and revised to meet changing threats

## Slide 15: Types of Policies and Procedures to Protect Critical Infrastructure (1 of 2)
Develop for:
  Perimeter barriers
  Lighting
  Intruder detection systems
  Closed-circuit television
  Automated access control systems
  Security officers and patrols
Source: Getty Images
Types of Policies and Procedures to
Protect Critical Infrastructure (1 of 2)
Develop for:
  Perimeter barriers
  Lighting
  Intruder detection systems
  Closed-circuit television
  Automated access control systems
  Security officers and patrols

## Slide 16: Types of Policies and Procedures to Protect Critical Infrastructure (2 of 2)
  Electronic access controls
  Lock and key controls
  Entry control areas
  Secure asset locations
  Cybersecurity
Include in a standard operating procedures manual
Types of Policies and Procedures to
Protect Critical Infrastructure (2 of 2)
  Electronic access controls
  Lock and key controls
  Entry control areas
  Secure asset locations
  Cybersecurity
Include in a standard operating procedures manual

## Slide 17: Perimeter Barrier Definition
Natural boundary, such as a river or mountain range
Freestanding fence or wall
Outer walls of a facility or walls or divisions of a building
Source: Getty Images
Perimeter Barrier Definition
Natural boundary, such as a river or mountain range
Freestanding fence or wall
Outer walls of a facility or walls or divisions of a building

## Slide 18: Perimeter Barrier Purpose
Delineate a boundary
Channel visitors to legal points of entry
Deter and delay unlawful intruders
Provide a degree of physical, psychological, or legal deterrence
Source: DS/T/ATA
Perimeter Barrier Purpose
Delineate a boundary
Channel visitors to legal points of entry
Deter and delay unlawful intruders
Provide a degree of physical, psychological, or legal deterrence

## Slide 19: Perimeter Barrier Effectiveness (1 of 2)
Perimeter intruder detection systems
Closed-circuit television and security officers
Security lighting
Enclosed fencing
Perimeter Barrier Effectiveness (1 of 2)
Perimeter intruder detection systems
Closed-circuit television and security officers
Security lighting
Enclosed fencing

## Slide 20: Perimeter Barrier Effectiveness (2 of 2)
Grouped facilities
Maintained vegetation
Anticlimbing devices on fences
Secure vehicle gates and fences at the same level
Perimeter Barrier Effectiveness (2 of 2)
Grouped facilities
Maintained vegetation
Anticlimbing devices on fences
Secure vehicle gates and fences at the same level

## Slide 21: Perimeter Barriers Standards
Workbook 11.2
Doors
Windows
Other areas of the facility
Refer To:
Doors
Windows
Other areas of the facility
Perimeter Barriers Standards
Refer To:
Workbook 11.2

## Slide 22: Lighting (1 of 2)
Effective use can minimize the chance that intruders will go undetected
Source: DS/T/ATA
Lighting (1 of 2)
Effective use can minimize the chance that intruders will go undetected

## Slide 23: Lighting (2 of 2)
All external areas should be well lit:
  Vehicle parking areas
  Access routes
  Building entrances
  External doors
  Common entrances
Use light-sensitive devices for daytime and nighttime conditions
Lighting (2 of 2)
All external areas should be well lit:
  Vehicle parking areas
  Access routes
  Building entrances
  External doors
  Common entrances
Use light-sensitive devices for daytime and nighttime conditions

## Slide 24: Lighting and Closed-Circuit Television Compatibility
Factors that dramatically reduce quality of image include:
  Excessive shadows
  Glare into the lens
  Back-lighting
  External lighting
Avoid low-pressure sodium vapor lighting
Lighting and Closed-Circuit Television Compatibility
Factors that dramatically reduce quality of image include:
  Excessive shadows
  Glare into the lens
  Back-lighting
  External lighting
Avoid low-pressure sodium vapor lighting

## Slide 25: Lighting — Perimeter
Should cast a uniform light over the perimeter
Should create a glare that deters intruders (overhead or low-mounted lamp)
Should not create a nuisance or hazard outside the perimeter
Should not reveal the positions of guards, either inside or outside
Source: DS/T/ATA
Lighting — Perimeter
Should cast a uniform light over the perimeter
Should create a glare that deters intruders (overhead or low-mounted lamp)
Should not create a nuisance or hazard outside the perimeter
Should not reveal the positions of guards, either inside or outside

## Slide 26: Lighting — Area
Illuminates areas inside the perimeter that intruders must cross in order to reach their objectives and:
  Increases security officers’ ability to detect intruders
  Acts as a powerful deterrent
  Should be even and without shadows
Lighting — Area
Illuminates areas inside the perimeter that intruders must cross in order to reach their objectives and:
  Increases security officers’ ability to detect intruders
  Acts as a powerful deterrent
  Should be even and without shadows

## Slide 27: Intruder Detection Systems
Designed to:
  Detect entry, or attempted entry, of an intruder into a protected area
  Identify location of an intrusion
  Signal an alarm to the security force
Best used to provide early detection of attack
Security force must respond quickly
Intruder Detection Systems
Designed to:
  Detect entry, or attempted entry, of an intruder into a protected area
  Identify location of an intrusion
  Signal an alarm to the security force
Best used to provide early detection of attack
Security force must respond quickly

## Slide 28: Intruder Detection System Elements
Perimeter — activate by intrusion or attack upon the perimeter
Trap — activate once the intruder is inside the building
Point — used to protect high-value and portable items
Intruder Detection System Elements
Perimeter — activate by intrusion or attack upon the perimeter
Trap — activate once the intruder is inside the building
Point — used to protect high-value and portable items

## Slide 29: Intruder Detection System for Unmanned Facilities (1 of 2)
Should be equipped with following features:
  Door contact sensors, as a minimum requirement
  Sensors that report to the security control center
  A security control center that provides access control functions
  A verification feature that clarifies the reason for alarm activation
Source: DS/T/ATA
Intruder Detection System for Unmanned Facilities (1 of 2)
Should be equipped with following features:
  Door contact sensors, as a minimum requirement
  Sensors that report to the security control center
  A security control center that provides access control functions
  A verification feature that clarifies the reason for alarm activation

## Slide 30: Intruder Detection System for Unmanned Facilities (2 of 2)
The verification feature can be provided by:
  Closed-circuit television at the remote site
  Law enforcement or security force personnel directed to the site to investigate
Provides the ability to view the area
Intruder Detection System for Unmanned Facilities (2 of 2)
The verification feature can be provided by:
  Closed-circuit television at the remote site
  Law enforcement or security force personnel directed to the site to investigate
Provides the ability to view the area

## Slide 31: Closed-Circuit Television (1 of 2)
Workbook 11.2
Benefits include:
  Saves manpower
  Makes an existing security system more effective
  Enhances perimeter security
Refer To:
Benefits include:
  Saves manpower
  Makes an existing security system more effective
  Enhances perimeter security
Closed-Circuit Television
Refer To:
Workbook 11.2

## Slide 32: Closed-Circuit Television (2 of 2)
Workbook 11.2
Not a security detection device without video motion detection
Selection of cameras and system based on site requirements
Refer To:
Not a security detection device without video motion detection
Selection of cameras and system based on site requirements
Closed-Circuit Television
Refer To:
Workbook 11.2

## Slide 33: Automated Access Control Systems
Ensure only authorized persons gain access
Minimum requirement: a card-access control system
Follow standard operating procedures manual
Source: DS/T/ATA
Automated Access Control Systems
Ensure only authorized persons gain access
Minimum requirement: a card-access control system
Follow standard operating procedures manual

## Slide 34: Automated Access Control Systems —Components
Electronic access control
Alarm reporting
Image capture and badge production
Physical locks and key control
Alarm output triggers to closed-circuit television system
Automated Access Control Systems —Components
Electronic access control
Alarm reporting
Image capture and badge production
Physical locks and key control
Alarm output triggers to closed-circuit television system

## Slide 35: Facility Access Control (1 of 2)
Keep number of external access and exit points to a minimum
All regular entry and exit points must be access controlled and include anti-pass backup capability
Facility Access Control (1 of 2)
Keep number of external access and exit points to a minimum
All regular entry and exit points must be access controlled and include anti-pass backup capability

## Slide 36: Facility Access Control (2 of 2)
External doors with remote operation installed where entry is viewed:
  Directly
  By closed-circuit
Control internal doors leading to critical areas with electronic access
Facility Access Control (2 of 2)
External doors with remote operation installed where entry is viewed:
  Directly
  By closed-circuit
Control internal doors leading to critical areas with electronic access

## Slide 37: Security Officers and Patrols (1 of 2)
Where applicable, lead security officer determines security level policies and procedures based on:
  Informed opinions on threats
  Specific vulnerabilities
  Identified risks
Security Officers and Patrols (1 of 2)
Where applicable, lead security officer determines security level policies and procedures based on:
  Informed opinions on threats
  Specific vulnerabilities
  Identified risks

## Slide 38: Security Officers and Patrols (2 of 2)
Integrate security measures into one security control center facility protecting:
  Security personnel
  Reception staff
  Systems data
Source: Getty Images
Security Officers and Patrols (2 of 2)
Integrate security measures into one security control center facility protecting:
  Security personnel
  Reception staff
  Systems data

## Slide 39: Electronic Access Control
Requires specific policies and procedures
Examples include:
  Specific management responsibilities for card control and inventory requirements
  Guidelines for issuing cards and the areas to be granted access
  Guidelines for terminating card access for misuse of cards
Electronic Access Control
Requires specific policies and procedures
Examples include:
  Specific management responsibilities for card control and inventory requirements
  Guidelines for issuing cards and the areas to be granted access
  Guidelines for terminating card access for misuse of cards

## Slide 40: Lock and Key Controls
Workbook 11.2
Standards
Spare keys
Key labeling
Refer To:
Standards
Spare keys
Key labeling
Lock and Key Controls
Refer To:
Workbook 11.2

## Slide 41: Entry Control Areas — Personnel
All personnel must wear a visible identification card
Revoke access when a staff member leaves the organization
Verify and authorize access for any external support services personnel
Source: DS/T/ATA
Entry Control Areas — Personnel
All personnel must wear a visible identification card
Revoke access when a staff member leaves the organization
Verify and authorize access for any external support services personnel

## Slide 42: Entry Control Areas — Visitors
Ask person they are visiting to arrange access
Obtain permission prior to the day of visit
Be issued an identification card
Obtain a visitor card at reception desk
Be accompanied by an authorized person at all times
Entry Control Areas — Visitors
Ask person they are visiting to arrange access
Obtain permission prior to the day of visit
Be issued an identification card
Obtain a visitor card at reception desk
Be accompanied by an authorized person at all times

## Slide 43: Secure Asset Locations (1 of 2)
Locate in interior of facility
Keep away from exterior windows
Do not use glass doors or windows for construction
Use metal or solid wood doors
Control access using electronic access control with capability to maintain a record of all entrants
Secure Asset Locations (1 of 2)
Locate in interior of facility
Keep away from exterior windows
Do not use glass doors or windows for construction
Use metal or solid wood doors
Control access using electronic access control with capability to maintain a record of all entrants

## Slide 44: Secure Asset Locations (2 of 2)
Remove exterior room door key access hardware from the master key system
Control issuance of nonmaster keys
Install intruder detection system with uninterrupted power source
Do not include on floorplans and construct slab-to-slab
Source: Getty Images
Secure Asset Locations (2 of 2)
Remove exterior room door key access hardware from the master key system
Control issuance of nonmaster keys
Install intruder detection system with uninterrupted power source
Do not include on floorplans and construct slab-to-slab

## Slide 45: Secure Asset Locations — Personnel
Only personnel with an ongoing business need should be given unescorted access
Remove names from card access system immediately when no longer required
Keep visitors to a minimum
Secure Asset Locations — Personnel
Only personnel with an ongoing business need should be given unescorted access
Remove names from card access system immediately when no longer required
Keep visitors to a minimum

## Slide 46: Security Personnel
Control access
Conduct building searches
Perform patrol duties
Use the radio to communicate
Respond to an intrusion alarm
Security Personnel
Control access
Conduct building searches
Perform patrol duties
Use the radio to communicate
Respond to an intrusion alarm

## Slide 47: Types of Policies in an SOP Manual
Workbook 11.3
Description of the facility site
Floor plan of the facility
Description and application of access controls for the facility
Security force responsibilities
Refer To:
Description of the facility site
Floor plan of the facility
Description and application of access controls for the facility
Security force responsibilities
Types of Policies in an SOP Manual
Refer To:
Workbook 11.3

## Slide 48: Policies and Standard Operational Procedures (1 of 2)
Workbook 11.3
Outline roles and responsibilities of response force personnel
Reflect general requirements of the lead security officer
Refer To:
Outline roles and responsibilities of response force personnel
Reflect general requirements of the lead security officer
Policies and Standard Operational Procedures (1 of 2)
Refer To:
Workbook 11.3

## Slide 49: Policies and Standard Operational Procedures (2 of 2)
Workbook 11.3
Are reviewed annually with updates completed in a timely manner
Provide guidance on how and when to deploy specialized units
Refer To:
Are reviewed annually with updates completed in a timely manner
Provide guidance on how and when to deploy specialized units
Policies and Standard Operational Procedures (2 of 2)
Refer To:
Workbook 11.3

## Slide 50: Effective Security Policies
Simple introduction and purpose
Policy statement
Information about:
  Compliance measurement
  Sanctions for compliance failures
Workbook 11.3
Refer To:
Source: Getty Images
Simple introduction and purpose
Policy statement
Information about:
  Compliance measurement
  Sanctions for compliance failures
Effective Security Policies
Refer To:
Workbook 11.3

## Slide 51: Noncompliance of Policies and Procedures
Workbook 11.3
If a facility fails an audit or inspection, sanctions can range from:
  Development of a corrective action plan
  Closure of the facility until the compliance issue is corrected
Refer To:
If a facility fails an audit or inspection, sanctions can range from:
  Development of a corrective action plan
  Closure of the facility until the compliance issue is corrected
Noncompliance of Policies and Procedures
Refer To:
Workbook 11.3

## Slide 52: Development of a Compliance Program (1 of 2)
Workbook 11.3
Identify agency that possesses jurisdiction
Obtain data from past inspections and audits
Develop a self-audit plan
Conduct a self-assessment against criteria published
Refer To:
Identify agency that possesses jurisdiction
Obtain data from past inspections and audits
Develop a self-audit plan
Conduct a self-assessment against criteria published
Development of a Compliance Program (1 of 2)
Refer To:
Workbook 11.3

## Slide 53: Development of a Compliance Program (2 of 2)
Workbook 11.3
Develop an action plan
Incorporate compliance measures from past audits
Refer To:
Develop an action plan
Incorporate compliance measures from past audits
Development of a Compliance Program
Refer To:
Workbook 11.3

## Slide 54: TeachBack Moment
What types of policies and procedures are needed to effectively protect critical infrastructure?
What types of policies should be included in a standard operating procedures manual?
TeachBack Moment
What types of policies and procedures are needed to effectively protect critical infrastructure?
What types of policies should be included in a standard operating procedures manual?

## Slide 55: Policies and Procedures Relating to Critical Incidents
This section will cover:
  Critical incidents definition
  Critical incident management plan
  Critical incident management plan process
Policies and Procedures Relating to Critical Incidents
This section will cover:
  Critical incidents definition
  Critical incident management plan
  Critical incident management plan process

## Slide 56: Critical Incident Definition
An event of unusual or severe nature that can cause:
  Loss of life or injury to citizens
  Damage to property
Critical incidents require extraordinary measures to protect lives and restore order
Policies and procedures provide guidance for effective response
Critical Incident Definition
An event of unusual or severe nature that can cause:
  Loss of life or injury to citizens
  Damage to property
Critical incidents require extraordinary measures to protect lives and restore order
Policies and procedures provide guidance for effective response

## Slide 57: Discussion Questions
What are some examples of critical incidents?
What are some specific examples of critical incidents in your region?
What are some examples of critical incidents?
What are some specific examples of critical incidents in your region?
Discussion Questions

## Slide 58: Critical Incident Management Plan
A standardized plan that outlines processes and procedures for coordination and control of responses to a terrorism event or natural disaster
Source: DS/T/ATA
Critical Incident Management Plan
A standardized plan that outlines processes and procedures for coordination and control of responses to a terrorism event or natural disaster

## Slide 59: Discussion Questions
Does your agency have a critical incident management plan?
If so, how does the plan work?
Does your agency have a critical incident management plan?
If so, how does the plan work?
Discussion Questions

## Slide 60: Principles of the Critical Incident Management Process (1 of 2)
Must be applied before, during, and after any incident
May require multiple jurisdiction and cross-functional agency involvement
Various responders must operate under the principles of flexibility and standardization to function as a unified team
Flexibility
Standardization
Principles of the Critical Incident Management Process (1 of 2)
Must be applied before, during, and after any incident
May require multiple jurisdiction and cross-functional agency involvement
Various responders must operate under the principles of flexibility and standardization to function as a unified team
Flexibility
Standardization

## Slide 61: Principles of the Critical Incident Management Process (2 of 2)
The process provides:
  Consistent, flexible, and adjustable national framework of government and private entities working together to manage domestic incidents
  Standardized organizational structures:
    Incident command system
    Multiagency coordination systems
    Public emergency communication systems
Principles of the Critical Incident
Management Process (2 of 2)
The process provides:
  Consistent, flexible, and adjustable national framework of government and private entities working together to manage domestic incidents
  Standardized organizational structures:
    Incident command system
    Multiagency coordination systems
    Public emergency communication systems

## Slide 62: Components of the Critical Incident Management Process
Command and management structure
Joint operations
Resource and policy
Communications and information
After-actions reporting
Joint training exercises
Components of the Critical Incident Management Process
Command and management structure
Joint operations
Resource and policy
Communications and information
After-actions reporting
Joint training exercises

## Slide 63: Critical Incident Management Process Phases
Phase 1: Prevention
Phase 2: Preparedness
Phase 3: Response
Phase 4: Recovery
Phase 4: Recovery
Phase 3: Response
Phase 1: Prevention
Phase 2: Preparedness
Critical Incident Management Process Phases

## Slide 64: Bomb Threat Management Plan (1 of 2)
This section will cover:
  Step 1: Designate management responsibilities
  Step 2: Define procedures for handling bomb threat calls
  Step 3: Determine procedures for evaluating bomb threat calls
Bomb Threat Management Plan (1 of 2)
This section will cover:
  Step 1: Designate management responsibilities
  Step 2: Define procedures for handling bomb threat calls
  Step 3: Determine procedures for evaluating bomb threat calls

## Slide 65: Bomb Threat Management Plan (2 of 2)
  Step 4: Identify an incident command post
  Step 5: Develop a search and evacuation plan
  Step 6: Establish a response procedure
Source: DS/T/ATA
Bomb Threat Management Plan (1 of 2)
  Step 4: Identify an incident command post
  Step 5: Develop a search and evacuation plan
  Step 6: Establish a response procedure

## Slide 66: Discussion Questions
Does your agency have a bomb threat management plan?
If you have one, how does it work?
What benefits and deficiencies do you notice?
If your agency does not have one, how do you see one being helpful?
Discussion Questions
Does your agency have a bomb threat management plan?
If you have one, how does it work?
What benefits and deficiencies do you notice?
If your agency does not have one, how do you see one being helpful?

## Slide 67: Step 1: Designate Management Responsibilities (1 of 4)
Incident commander | Alternate incident commander
Assess threat calls | Notify all operations supervisors of bomb threat
Order evacuation | Direct supervisors or floor wardens to initiate the response procedures
Supervise search and response to suspect objects | 
Determine when facility can be reentered | 
Incident commander | Alternate incident commander
Assess threat calls | Notify all operations supervisors of bomb threat
Order evacuation | Direct supervisors or floor wardens to initiate the response procedures
Supervise search and response to suspect objects | 
Determine when facility can be reentered | 
Step 1: Designate Management
Responsibilities (1 of 4)

## Slide 68: Step 1: Designate Management Responsibilities (2 of 4)
Supervisor or floor warden | Runner
Notify employees of threat | Notify supervisors and management about threat
Supervise search or evacuation activities | Assist in securing location of suspect objects
 | Assign one to each shift to help with miscellaneous needs
Personnel who answer outside phone lines | Security and maintenance personnel assigned to search teams
Supervisor or floor warden | Runner
Notify employees of threat | Notify supervisors and management about threat
Supervise search or evacuation activities | Assist in securing location of suspect objects
 | Assign one to each shift to help with miscellaneous needs
Personnel who answer outside phone lines | Security and maintenance personnel assigned to search teams
Step 1: Designate Management
Responsibilities (2 of 4)

## Slide 69: Step 1: Designate Management Responsibilities (3 of 4)
Handout 11.1
Purpose: to identify the basic roles and responsibilities of the personnel who are responsible for managing a bomb threat incident
  Duration: 15 minutes (10-activity; 5-debrief)
  Group composition: table groups
  Debrief: large-group discussion
Refer To:
Purpose: to identify the basic roles and responsibilities of the personnel who are responsible for managing a bomb threat incident
  Duration: 15 minutes (10-activity; 5-debrief)
  Group composition: table groups
  Debrief: large-group discussion
Step 1: Designate Management Responsibilities (3 of 4)
Refer To:
Handout 11.1

## Slide 70: Step 1: Designate Management Responsibilities (4 of 4)
Communications network:
  Established through the chain of command
  Ensures employees are properly informed and supervised
  Mirrors existing management structure
  Ensures everyone is aware of their role
  Described when policy is developed
Source: Getty Images
Step 1: Designate Management
Responsibilities (4 of 4)
Communications network:
  Established through the chain of command
  Ensures employees are properly informed and supervised
  Mirrors existing management structure
  Ensures everyone is aware of their role
  Described when policy is developed

## Slide 71: Step 2: Define Procedures for Bomb Threat Calls (1 of 3)
Workbook 11.4
Remain calm
Listen carefully to the caller’s message
Ask the caller to repeat the message
Record or write down every word the caller says
Refer To:
Remain calm
Listen carefully to the caller’s message
Ask the caller to repeat the message
Record or write down every word the caller says
Step 2: Define Procedures for Bomb Threat Calls (1 of 3)
Refer To:
Workbook 11.4

## Slide 72: Step 2: Define Procedures for Bomb Threat Calls (2 of 3)
Workbook 11.4
Try to convince the caller to provide:
  Location of the device
  Time of detonation
Ask someone else to listen to the call
Keep the caller on phone as long as possible
Refer To:
Try to convince the caller to provide:
  Location of the device
  Time of detonation
Ask someone else to listen to the call
Keep the caller on phone as long as possible
Step 2: Define Procedures for Bomb Threat Calls (2 of 3)
Refer To:
Workbook 11.4

## Slide 73: Step 2: Define Procedures for Bomb Threat Calls (3 of 3)
Workbook 11.4
Pay special attention to:
  The sound of the caller’s voice
  The caller’s dialect or use of language
  Background noises
Immediately report the situation to security
Complete a bomb threat checklist
Refer To:
Pay special attention to:
  The sound of the caller’s voice
  The caller’s dialect or use of language
  Background noises
Immediately report the situation to security
Complete a bomb threat checklist
Step 2: Define Procedures for Bomb Threat Calls (3 of 3)
Refer To:
Workbook 11.4

## Slide 74: Discussion Question
What existing procedures do you have in place in your agency for managing bomb threat calls?
What existing procedures do you have in place in your agency for managing bomb threat calls?
Discussion Question

## Slide 75: Step 3: Determine Procedures for Evaluating Bomb Threat Calls
Once the threat call is received and security is notified, the incident commander should:
  Debrief the person who received the call
  Let the recipient of the call describe the conversation in his or her own words
  Review the completed bomb threat checklist
Step 3: Determine Procedures
for Evaluating Bomb Threat Calls
Once the threat call is received and security is notified, the incident commander should:
  Debrief the person who received the call
  Let the recipient of the call describe the conversation in his or her own words
  Review the completed bomb threat checklist

## Slide 76: How to Determine the Authenticity of a Bomb Threat
Authentic bombers tend to:
  Repeat the threat message in a specific manner
  Provide detailed descriptions about the location of the device
The more information provided, the more likely threat is real
How to Determine the Authenticity of a Bomb Threat
Authentic bombers tend to:
  Repeat the threat message in a specific manner
  Provide detailed descriptions about the location of the device
The more information provided, the more likely threat is real

## Slide 77: Bomb Threat Decision Options (1 of 2)
Evacuate
Search
Ignore the threat
Do not base decisions solely on threat call’s credibility
Bomb Threat Decision Options (1 of 2)
Evacuate
Search
Ignore the threat
Do not base decisions solely on threat call’s credibility

## Slide 78: Bomb Threat Decision Options (2 of 2)
The option chosen should be made in accordance with the bomb threat management plan
Guidelines for decisions about search and evacuation should be established by policy
Bomb Threat Decision Options (2 of 2)
The option chosen should be made in accordance with the bomb threat management plan
Guidelines for decisions about search and evacuation should be established by policy

## Slide 79: Discussion Questions
What is the value of assessing potential threat credibility?
Should the building be evacuated or reoccupied before the time stated in the threat call?
What else should you plan for in addition to bomb threats?
What is the value of assessing potential threat credibility?
Should the building be evacuated or reoccupied before the time stated in the threat call?
What else should you plan for in addition to bomb threats?
Discussion Questions

## Slide 80: Step 4: Determine an Incident Command Post (1 of 2)
Workbook 11.4
Bomb threat management plan should include an incident command post — the location from which the incident commander manages search and response activities
Location depends upon the type of search and response plan
Refer To:
Bomb threat management plan should include an incident command post — the location from which the incident commander manages search and response activities
Location depends upon the type of search and response plan
Step 4: Determine an Incident Command Post (1 of 2)
Refer To:
Workbook 11.4

## Slide 81: Step 4: Determine an Incident Command Post (2 of 2)
Workbook 11.4
If an evacuation is required, relocate the incident command post to an alternate position outside of the building
To facilitate the mobility requirements of the incident command post, create a portable incident command post kit
Refer To:
If an evacuation is required, relocate the incident command post to an alternate position outside of the building
To facilitate the mobility requirements of the incident command post, create a portable incident command post kit
Step 4: Determine an Incident Command Post (2 of 2)
Refer To:
Workbook 11.4

## Slide 82: Step 5: Develop a Search and Evacuation Plan
Workbook 11.4
Primary search methods:
  Security team
  Employee work area
  Law enforcement assisted
Additional search guidance and search team safety points
Explosive device search procedures
Evacuation procedures
Refer To:
Primary search methods:
  Security team
  Employee work area
  Law enforcement assisted
Additional search guidance and search team safety points
Explosive device search procedures
Evacuation procedures
Step 5: Develop a Search and Evacuation Plan
Refer To:
Workbook 11.4

## Slide 83: Step 6: Establish a Response Procedure (1 of 2)
Evacuate all employees from the danger area
Notify law enforcement
Secure danger area to prevent accidental intrusion
Brief bomb technicians about situation
Warn local authorities about any potential hazards
Step 6: Establish a Response Procedure (1 of 2)
Evacuate all employees from the danger area
Notify law enforcement
Secure danger area to prevent accidental intrusion
Brief bomb technicians about situation
Warn local authorities about any potential hazards

## Slide 84: Step 6: Establish a Response Procedure (2 of 2)
Response procedures should:
  Include actions to take after the suspicious object has been removed from the site
  Consider any hazards resulting from disruption of safe process operations
  Provide guidelines for warning local authorities about any potential hazards
Step 6: Establish a Response Procedure (2 of 2)
Response procedures should:
  Include actions to take after the suspicious object has been removed from the site
  Consider any hazards resulting from disruption of safe process operations
  Provide guidelines for warning local authorities about any potential hazards

## Slide 85: Threaded Exercise Part 4 — Bomb Threat Management Policy
Workbook Part 4
Purpose: to create a bomb threat management policy for the National Ministries Building by answering a series of questions
  Duration: 30 minutes (20-exercise; 10-debrief)
  Group composition: table groups
  Debrief: large-group discussion
Refer To:
Purpose: to create a bomb threat management policy for the National Ministries Building by answering a series of questions
  Duration: 30 minutes (20-exercise; 10-debrief)
  Group composition: table groups
  Debrief: large-group discussion
Threaded Exercise Part 4 —
Bomb Threat Management Policy
Refer To:
Workbook Part 4

## Slide 86: National Ministries Building Complex Map
Workbook Part 4
Refer To:
Ministry
of Defense
Security office
Foreign embassy
Building generator
Second Street
First Street
Judiciary Lane
National Avenue
National Ministries
Building
Parking lot
Parking garage
(Ministry of Defense)
(Security office)
(Foreign embassy)
(Building generator)
(Second Street)
(First Street)
(Judiciary Lane)
(National Avenue)
(National Ministries
Building)
(Parking lot)
(Parking garage)
National Ministries Building Complex Map
Refer To:
Workbook Part 4
Ministry
of Defense
Security office
Foreign embassy
Building generator
Second Street
First Street
Judiciary Lane
National Avenue
National Ministries
Building
Parking lot
Parking garage
(Ministry of Defense)
(Security office)
(Foreign embassy)
(Building generator)
(Second Street)
(First Street)
(Judiciary Lane)
(National Avenue)
(National Ministries
Building)
(Parking lot)
(Parking garage)

## Slide 87: TeachBack Moment
How do policies and procedures help the effectiveness of response to a critical incident?
What elements should be included in a bomb threat management policy?
TeachBack Moment
How do policies and procedures help the effectiveness of response to a critical incident?
What elements should be included in a bomb threat management policy?

## Slide 88: Module Summary
Policies and procedures relating to a physical protection system
Types of policies and procedures to protect critical infrastructure
Policies and procedures relating to critical incidents
Bomb threat management plan
Policies and procedures relating to a physical protection system
Types of policies and procedures to protect critical infrastructure
Policies and procedures relating to critical incidents
Bomb threat management plan
Module Summary