Site Vulnerability Survey Checklist

General Information

1. When the facility security plan was first developed were Chemical, Biological, Radiological, Nuclear and Explosives (CBRNE) threats considered?

________ Yes ________ No

2. Does the current facility security plan address the CBRNE threat?

________ Yes ________ No

3. At which level of the organization are major security issues decided?

4. To whom does the security manager report?

5. How often are security procedures reviewed and updated?

6. Is there a policy regarding the frequency of training and exercising employees in security

Issues?

7. What is the frequency for conducting training and exercises of the security procedures?

8. Are employees trained and empowered to address intrusions?

________ Yes ________ No

9. Have there been any incidents of unauthorized intrusions at the facility?

________ Yes ________ No

10. Have there been any incidents that involved a PTE (Potential Threat Element)?

________ Yes ________ No

11. What tactics are usually attributed to that PTE?

Security Engineering

1. Are employees trained to confront/detain persons found inside unauthorized areas?

________ Yes ________ No

2. What areas on the property are obscured from the vision of employees during their normal

hours?

3. Are areas for authorized access delineated so that employees can easily and casually

identify unauthorized persons on the property?

________ Yes ________ No

4. How frequently are objectives tested individually and as a group?

Security Systems

1. Are components of the security system overtly placed to deter intrusion?

________ Yes ________ No

2. Are there redundant components placed covertly to back up the overtly placed

components?

________ Yes ________ No

3. Is there a record of intrusions and breaches of security?

________ Yes ________ No

4. Is the record of security breaches utilized to enhance the security system during scheduled

reviews? List intrusions.

________ Yes ________ No

5. Is there an effective alarm system in place?

________ Yes ________ No

6. Is there periodic training and exercising of the alarm protocols?

________ Yes ________ No

7. Is there a physical system designed to delay intruders in order to allow a response team

time to react?

________ Yes ________ No

8. Is the security system designed to protect the assets of the facility?

________ Yes ________ No

9. Does the security system provide in-depth protection?

________ Yes ________ No

10. Does the security system become more restrictive closer to the critical assets?

________ Yes ________ No

11. Does the security system have the flexibility to increase during times of higher threat

levels?

________ Yes ________ No

12. When remodeling or new construction occurs within the facility, are the persons responsible

for security consulted to modify the security plan to meet the temporary needs of the

facility?

________ Yes ________ No

13. Is there an effective and enforced badge and identification system?

________ Yes ________ No

14. Is visitor control and inspection evident at the entrance?

________ Yes ________ No

15. Are packages and mail examined remotely prior to entering a facility?

________ Yes ________ No

16. Is the mailroom staff trained and tested in identifying chemical, biological, radiological,

nuclear, and explosive (CBRNE) materials?

________ Yes ________ No

17. Does the alarm system have a built-in prioritization?

________ Yes ________ No

18. Is there an auxiliary power source for the security system?

________ Yes ________ No

19. Are visiting vehicles restricted to an area away from any assets in what could become a

blast zone? What is the vehicle standoff distance?

________ Yes ________ No

20. Does the security system notify security personnel when tampered with or when the circuits

are interrupted?

________ Yes ________ No

21. Does the security system have a continuous self-test to verify its integrity and status?

________ Yes ________ No

22. Does the lighting system have a remote start capability?

________ Yes ________ No

23. Are portal controls located in every window, door, and transition point?

________ Yes ________ No

24. Is there a provision within the security plan to raise the level of security and response

during times of increased threat?

________ Yes ________ No

25. Can the security system monitor the movement of persons throughout the building?

________ Yes ________ No

26. Is there an effective key control system?

________ Yes ________ No

27. Do any of the doors record access?

________ Yes ________ No

28. Do the most secure areas require multiple identification methods for access, such as PIN

numbers and a biometric measurement?

________ Yes ________ No

29. If the portals are fail-safe, is there a backup method for protecting valuable assets in the

event of a fail-safe?

________ Yes ________ No

30. Does the security system utilize door position sensors?

________ Yes ________ No

31. Is heavier hardware used to secure portals, such as drop gates, security officer shacks,

sliding gates, traps, turnstiles, and vehicle bar-code readers?

________ Yes ________ No

32. Does the security staff watch more than five monitors per person?

________ Yes ________ No

33. Does the facility utilize sensors to detect intrusion? If so, what type?

________ Yes ________ No

34. Are the sensors frequently tested?

________ Yes ________ No

35. Are video motion detectors utilized to detect movement and provide an assessment of the

movement?

________ Yes ________ No

36. Do sensors such as magnetic switches protect all portals, personnel doors, cargo doors,

windows, skylights, roof hatches, and gates?

________ Yes ________ No

37. Is the CCTV record maintained for at least 30 days?

________ Yes ________ No

38. Is security lighting used to define the property boundaries?

________ Yes ________ No

39. Do the areas lighted by security lighting overlap so when one goes out the area is still

lighted?

________ Yes ________ No

40. Is the security lighting directed so it does not interfere with cameras, employees, or

witnesses by causing backlighting, reflection, refractions, or glare?

________ Yes ________ No

Building Systems

1. Is there backup power for the security system in the event of a power failure? Is there a

maintenance plan for the backup power?

________ Yes ________ No

2. Does the building have an uninterrupted power supply (UPS) system?

________ Yes ________ No

3. What portions of the power supply are outside?

4. What type of HVAC system is in use at the facility? Natural ventilation? Unit ventilators?

Duct systems with air handling units?

5. Is access to the outside air intakes protected?

________ Yes ________ No

6. Does the HVAC system create a continuous positive air pressure in the building?

________ Yes ________ No

7. Is the return air system elevated or otherwise inaccessible to unauthorized persons?

________ Yes ________ No

8. Are critical assets in separate, controlled air handling unit zones?

________ Yes ________ No

9. Are entry points in separate, controlled air handling unit zones?

________ Yes ________ No

10. Does the HVAC system utilize shared return-air plenums?

________ Yes ________ No

11. How does the system respond to manual alarms? Does it use fire detection equipment or

sprinkler/extinguishing systems?

12. Is there an HVAC control plan?

________ Yes ________ No

13. Are the switches that control the HVAC system secure from tampering, sabotage, or other

unauthorized access?

________ Yes ________ No

14. Are exhaust fans in a secure area, or are they accessible to intruders?

________ Yes ________ No

15. Are dampers in good working condition?

________ Yes ________ No

16. Does the air handling unit utilize high efficiency particulate air (HEPA) filters?

________ Yes ________ No

17. Are filters set up for a dual system of filtration to meet a combined chemical and biological

threat?

________ Yes ________ No

18. Are there safe rooms or shelter-in-place areas with a dedicated, positive pressure?

________ Yes ________ No

19. Are there any shelters/safe rooms within the structure that can protect against drones or other types of airborne weapon delivery systems?

_________ Yes ________ NO

19. Do evacuation routes have positive pressure to the contiguous areas of the facility?

________ Yes ________ No

Security Requirements for Special Sites

Note: Of the following, select a type of site that corresponds with the type of facility you

are inspecting.

1. Assess government offices for the presence of: uncontrolled perimeters, numerous entries

and exits, large numbers of people entering/exiting, multiple-story buildings, resistance to

progressive collapse, lack of stand-off to explosive threats, standard HVAC systems, and

design to counter a CBRNE threat.

2. Assess emergency services facilities for the presence of: semi-controlled perimeters, open

vs. controlled entry, critical equipment and personnel, unprotected facilities, vulnerabilities

from specific threats or detection, stand-off distance for HE threats, ballistic weapons

detection, aerosolized chemicals, or biological weapons.

3. Assess utility-related sites for the presence of: security coverage of large distribution

systems, power lines, natural gas pipelines, significant quantities of hazardous materials

such as spent fuel rods (nuclear plants), petroleum and natural gas (conventional plants),

and the possibility of a remote attack through the power grid.

4. Assess water treatment facilities (drinking and wastewater) for the presence of: little or no

security precautions, unsecured perimeters, poor control over hazardous materials, and

on-site storage of one-ton chlorine cylinders (drinking water plants) and oxidizers such as

potassium permanganate (wastewater plants).

5. Assess transportation-related sites for the presence of: capability to conduct a high volume

of passenger screening (i.e., at airports, bus, rail, and cruise ship terminals), unsecured

perimeters, multiple entries and exits, shipping containers (both container ships and air

freight), area-wide networks, requirements for unrestricted access to sensitive potential

targets such as highways, bridges, and subways.

6. Assess educational institutions for the presence of: unsecured perimeters, facility access

issues for staff, student population access, badge/identification systems, uniforms, multiple

facilities, hazardous materials storage, possible biological agents, test animals potentially

infected with pathogens, and radiological sources (e.g., university-level research

laboratories).

7. Assess commercial and industrial facilities for the presence of: large containers of

chemicals, chemical production facilities or refineries, and shipping/receiving of hazardous

materials or waste. Also, assess critical components such as pipelines, valves and fittings,

substations, control of pump pressures, and product distribution. Evaluate whether any

industrial processes are vulnerable to disruption by means of power surges, blackouts,

mechanical tampering, or sabotage. Other factors to consider include: rapid influx and exit

of people; infrequent security screening of people, packages, and deliveries; vulnerabilities

in the HVAC system, and structural weakness that may lead to progressive collapse in the

event of a large HE weapon. Consider setback in particular, depending on the HE

design-basis threat.

8. Assess banking- and finance-related sites for the presence of: vulnerability to HE weapons

and blast effects due to lack of set-back, and HVAC system dependence. Consider how

well any current security presence is suited to dealing with a CBRNE attack, as well as

electronic disruption, electrical grid attack, cyber-attacks, EMP, power surges, and

blackouts. Also, consider the use of UPS systems and firewalls on LANs, distributed

systems, and the Internet.

9. Assess military installations for the presence of: existing security measures and unique

types of physical layouts, operational activities, equipment, personnel, and bulk storage of

hazardous materials.

10. Assess any special sites not previously listed, or limited-time events, for the unique ways

they would impact a vulnerability assessment. Review for the presence of: agricultural

targets, large facility dimensions, little to no security, biological sensitivity, monitoring

abilities (or lack of), moving targets, and the need to conduct route planning,

counter-surveillance, vehicle control, and maintained control of perimeter access.

Preparation for a Vulnerability Assessment

1. Identify critical assets/sensitive areas of a potential target prior to conducting the

assessment itself. The assessors must also identify any potential threats. These threats

include: Who would want to damage the potential target? What could happen that would

cause a cessation of operations? How would the suspected PTE carry out the attack (what

tactics/techniques, especially involving CBRNE, would likely be used).

2. Has a comprehensive list been compiled of the specific vulnerabilities at a facility? This list

is generated from either consideration of all-hazards or consideration of threat from a

specific CBRNE or terrorist group. In either case, the list will assist in prioritizing appropriate

actions that will meet the needs of reasonable operational requirements and budgetary

constraints.

________ Yes ________ No

3. Regarding the facility security personnel, determine the following: what is the initial training

requirement, are there continuing education training requirements, are personnel involved

in the training of other employees, is training provided regarding security issues, are all

employees trained with respect to personal responsibilities in a security situation, etc.?

4. Who authorized or approved the emergency operating plan (EOP), and when was this

completed?

5. How often are EOP reviews conducted, and changes documented? Is there an operational

section for guidance?

6. Is the assignment of responsibility and authority clearly delineated?

________ Yes ________ No

7. Are all of the phases of emergency management identified? Is each disaster situation

discussed appropriately, including CBRNE incidents?

________ Yes ________ No

8. Is there a designation of readiness levels?

________ Yes ________ No

9. Is there adequate discussion relative to CBRNE and terrorist incidents?

________ Yes ________ No

Performing the Assessment Inspection

1. Note the following physical aspects of the facility:

– Location (address, county, state, etc.)

– Purpose

– Age

– Size (square feet)

– Number of floors

– Typical occupancy (number of persons)

– Number of entrances/exits

– Road access

– Nearby businesses (<0.5 miles) with potential chemicals of interest

– Nearest hospital with a trauma center

– Response times for law enforcement

2. Note the following operational aspects of the facility:

– Name of the facility manager and security manager

– Senior, or designated, corporate representative

– Level of on-site personnel training in CBRNE agents and responsibilities

– Presence of an on-site security response team

– PPE training

– Sources of water

– Sources of food or catering

– Maintenance of a contractor access list

– Use of natural ventilation

– Presence of through-the-wall ventilators

– Presence of duct system with air handling units in use

Inspection Details

Exterior

1. Note whether the perimeter of the facility is clearly defined by a fence, wall, or other type of

physical barrier. Verify if the barrier limits or controls vehicle and pedestrian access to the

facility. If it does, note the process. It is also important to document appearance of the

gates. Confirm that they appear solid, are properly locked, and hinges are secure.

Security-Related Lighting

1. Is the entire perimeter lighted?

________ Yes ________ No

2. Are lights on all night?

________ Yes ________ No

3. Are light fixtures suitable for outside use?

________ Yes ________ No

4. How are lights controlled?

5. Are control switches inaccessible to unauthorized persons?

________ Yes ________ No

6. Do any exterior or perimeter lights have an auxiliary power source?

________ Yes ________ No

7. How are the building grounds illuminated?

8. Are public areas sufficiently lighted to discourage attacks?

________ Yes ________ No

Facility Parking Areas

1. Is there adequate communication equipment or an alarm at the security officer station?

________ Yes ________ No

2. Is access strictly controlled, or do visitors and personnel move about freely?

________ Yes ________ No

3. Do the parking areas consist of garages or lots?

________ Yes ________ No

4. Are parking spaces reserved by name or position?

________ Yes ________ No

5. Are parking areas monitored by CCTV?

________ Yes ________ No

6. Does security perform a walk-through of the parking areas?

________ Yes ________ No

Exterior Doors and Windows

1. Are all doors at least 1¾-inch solid core wood, metal clad, or metal?

________ Yes ________ No

2. Are all doors properly equipped with cylinder locks, deadbolts, or quality padlocks and

hasps?

________ Yes ________ No

3. Are all doors equipped with intrusion alarms?

________ Yes ________ No

4. Are all hinge pins internally located, welded, or otherwise treated to prevent easy removal?

________ Yes ________ No

5. Are locks or frames designed so that the door cannot be forced by spreading the frame?

________ Yes ________ No

6. Are locks firmly mounted so that they cannot be pried off?

________ Yes ________ No

7. Are padlocks utilized when doors are unlocked?

________ Yes ________ No

8. Are padlock hasps installed so that the screws cannot be removed?

________ Yes ________ No

9. Are all unused doors permanently locked?

________ Yes ________ No

10. Are exterior windows protected with locking devices, metal bars, mesh, or intrusion alarms?

________ Yes ________ No

11. Are windows on the ground floor made of tempered glass or ballistic plastic?

________ Yes ________ No

12. Are openings to the roof securely fastened or locked from the inside?

________ Yes ________ No

13. Do roof openings have intrusion alarms?

________ Yes ________ No

14. Is the roof accessible by means of a fire escape, another building, or objects such as a pole

or tree?

________ Yes ________ No

15. Are maintenance openings to the building properly secured?

________ Yes ________ No

16. Is a key-control system in effect?

________ Yes ________ No

17. Who is responsible for the key-control system?

________ Yes ________ No

18. Are building entrance keys issued on a limited basis?

________ Yes ________ No

19. Can the key-control officer replace locks and keys at his or her discretion?

________ Yes ________ No

20. Is the number of entrance doors in use reduced to the minimum necessary?

________ Yes ________ No

Interior

1. Confirm which walls are full-height (floor to ceiling).

2. Verify which areas of the building use removable/dropped ceiling tiles.

Alarms

1. Does the system meet UL standards?

________ Yes ________ No

2. Is the system covered by a service and maintenance contract?

________ Yes ________ No

3. Is the system regularly tested?

________ Yes ________ No

4. Where does the alarm system terminate?

5. Is there an emergency power source for all alarms?

________ Yes ________ No

6. Does the emergency power source cut in automatically?

________ Yes ________ No

7. What is the response capability?

8. What are the known weaknesses or gaps in the alarm system?

9. Verify the use of alarm systems, and note the type, if present on safes and vaults.

Local Fire Codes

1. Does the fire marshal routinely inspect the facility?

________ Yes ________ No

2. Is a thorough fire inspection routinely conducted? How often? When was the last

inspection?

________ Yes ________ No

3. Does the building have fire alarms or smoke detectors?

________ Yes ________ No

4. Is a sprinkler system installed?

________ Yes ________ No

Facility Elevators and Elevator Shafts

1. Are private elevators provided for staff?

________ Yes ________ No

2. Are any elevators controlled by key or programmed to bypass particular floors?

________ Yes ________ No

3. Are certain elevators used exclusively to move freight?

________ Yes ________ No

4. Are elevators equipped with alarms, telephones, or video monitoring?

________ Yes ________ No

5. Are elevators routinely inspected by a certified elevator company?

________ Yes ________ No

6. Is there an agreement in place for emergency repair and response?

________ Yes ________ No

7. Are elevators secure during “in place protection?”

________ Yes ________ No

Hazardous Materials and/or Firearms Storage Areas

1. Where are chemicals or hazardous substances stored?

2. What chemicals or hazardous substances are stored?

3. How much of the chemical or substance is stored?

4. What weapons or ammunition are stored?

5. Are riot control agents, such as tear gas, stored?

________ Yes ________ No

6. Do any of the storage areas have an intrusion alarm?

________ Yes ________ No

7. Are storage area doors solidly constructed and hinge pins concealed or welded to prevent

removal?

________ Yes ________ No

8. Do storage areas have a sprinkler system?

________ Yes ________ No

Facility Communication Capabilities

1. Are communications adequate? If not, what is needed?

________ Yes ________ No

2. What communications are available?

________ Yes ________ No

3. Are there telephones, radios, or a public address system?

________ Yes ________ No

4. Do telephones go through a building switchboard?

________ Yes ________ No

5. Does the switchboard have any security safeguards?

________ Yes ________ No

6. If radios are available, what is their frequency?

7. Who operates the public address system?

8. Does the radio system enable security personnel to interact with local authorities or other

response agencies?

________ Yes ________ No

9. Is e-mail available as a communications option?

________ Yes ________ No

10. Is there a communications system exclusively by security personnel?

________ Yes ________ No

11. Is there more than one communications system used exclusively for security purposes?

________ Yes ________ No

12. Do communications functions operate on an auxiliary power source?

________ Yes ________ No

13. Is there a duress code signal?

________ Yes ________ No

Public Areas

1. Are public waiting rooms routinely searched?

________ Yes ________ No

2. Are waiting rooms adjacent to any sensitive areas in the facility?

________ Yes ________ No

3. Are public restrooms routinely searched?

________ Yes ________ No

4. Are restrooms adjacent to any sensitive areas in the facility?

________ Yes ________ No

5. Do any trash receptacles allow easy concealment of improvised explosive devices (IED)?

________ Yes ________ No

6. Are directions clearly posted in all public areas?

________ Yes ________ No

Sensitive Areas (Laboratories, Mainframes, Archives, Weaponry, Cash, or

Pharmaceutical Storage)

1. Do these areas have security features?

________ Yes ________ No

2. Are cipher codes or vault combinations changed when personnel leave?

________ Yes ________ No

3. When was the combination changed last?

4. Are intrusion alarms present in these areas?

________ Yes ________ No

5. What is the response to an alarm?

6. Is there a duress alarm in staff offices?

________ Yes ________ No

7. Where does the duress alarm terminate?

Recommended Enhancements